## Slide 1: Vacuum Pumping
Gas removal
Section: Transfer Pumps

## Slide 2
• The selection of pump type and capacity depends on the system
requirements and the available budget.
• The pumping speed, S, is the volumetric flow through the pump
intake port: S= dV/ dt. (Units- L/s, m3/h, cm3/s).
• A vacuum pump is characterised by its throughput, Q, as
product of the S and the inlet pressure of the pump, P:
Q = S P (1)
• Throughput=pumping capacity= quantity of gas moved by the
pump over a unit of time (Units - mbar⋅L/s)
Material and Energy Research Centre (MERC)
Pumping systems_________________________

## Slide 4
Overview of vacuum pumps
Pumping Technology

## Slide 5: Working principles اصول عملکرد
1
2

## Slide 6: پمپهای دو طبقه

## Slide 7: Diffusion Pumps
پمپ های دیفیوژن

## Slide 8: Applications

## Slide 9: Diffusion Pumps

## Slide 10: Diffusion Pumps
Rely on jets of boiling fluid (usually silicone oil) to force air particles out of the region being evacuated. Cold traps prevent back streaming.

## Slide 14: Typical Pumps Information To consider

## Slide 15: نماد

## Slide 18: سیال روغن
1- وزن مولکولی
2- نقطه جوش
3- فشار بخار